مشخصات فنی نوار تفلون

TEFLON TAPE

THREAD SEAL P.T.F.E (TEFLON) TAPE

ACC. TO BS 4375/68 TO BE  USED FOR LIQUID

AND NATURAL GAS STEAM AND WATER CONNECTIONS

SUPPLIER: "TEFLON ZANJAN" OR "MISHAB" OR "TEFLON TEHRAN" OR

"PIPEPAC PTFE"OR"T.B.A" OR "JOHN CRANE"OR"JOHNS MANVILLE"

LOCATION: ALL AREAS AND SOUTH PARS

NOTE: FOR USE ON FUEL LINE, CONNECTION OF

ALL ENGINE AND EQUIPMENT.

THICK. 0.075 MM.

WIDTH 12 MM.